Installation Instructions 

PR-12, PR-12E and PR-20E Active Antenna Power Supplies

All power supplies are strapped for either 110 or 220 VAC at the factory.

The strapping can be changed by a qualified technician in the field, as shown on the diagram at the bottom of this page.

The AC input block accepts either 110 or 220VAC (depending on strapping).

Pin 1  AC Hot  (connect one  AC lead here)

Pin 2:  Not used.

Pin 3:  Neutral AC  (connect other AC lead here).

Pin 4:  Ground or Cable Shield

The DC input block accepts either 12 VDC or 24 VDC.

Pin 1:  +12VDC

Pin 2:  +24VDC

Pin 3  Negative












_975860403.dwg

